## Cover Page
INSTITUTE OF HUMAN VIROLOGY NIGERIA
MAINTENANCE OF TB-LON 3 FACILITIES
LAGOS STATE
LOT 1
OCT.2024

## Kosofe, Gbagada GH.
S/N | Description of item | Qty | Unit | Rate | Amount
A | Maintenance works
| Carefully remove all the old skylight roofing sheets and carefully discard away from site. |  | lot
B | Allow for the supply and installation of green skylight roofing sheet where necessary. With guage 0.5 mm and accessories. | 27 | m2
C | Construction and intallation of portacabin.
SUBSTRUCTURE (BASE OF CONTAINER & WAITING AREA)
i | Top soil for preservation 150 average depth | 59 | m2 |  | 0
ii | Trenches exceeding 300 wide 0.3m maximum depth; below existing ground level | 3 | m3 |  | 0
Disposal
iii | Excavated material off site | 1 | m3 |  | 0
Selected Excavated Material
iv | Filling to excavation over 250 average thick, obtained from on site spoil heaps; arising from excavations, depositing in layers 150mm maximum thickness | 1 | m3 |  | 0
E IN SITU CONCRETE/LARGE PRECAST CONCRETE
E10 IN SITU CONCRETE
Plain In-situ; Concrete (1:3:6 - all in aggregate)
v | Blinding bed 50 thick | 1 | m3 |  | 0
Reinforced; Concrete Grade 25.5; developing minimum 25.5N/mm2 work strength in 28 days
vi | Foundation generally / 150mm thick Concrete bed | 6 | m3 |  | 0
vii | Allow for erection of 100mm diameter Steel poles complete with excavation, concrete works and apply gloss paint | 6 | nr |  | 0
E20 FORMWORK FOR IN SITU CONCRETE
Formwork; Sawn Formwork
viii | Edge of bed 150mm high | 24 | m |  | 0
F MASONRY
F10 BRICK/BLOCK WALLING
Blockwork; Solid sandcrete blockwork in cement mortar (1:6)
ix | Walls 150mm thick (Below ground level) | 16 | m2 |  | 0
SUPERSTUCTURE
x | Allow a provisional sum for the supply and installation of PortaCabin suitable for office used in size 6000 x 2500 x 2800mm high complete with wooden floor and all its accessories as may be directed. |  | item |  | 0
Walls Partitions & Claddings
D | Supply and fix plywood partitions complete with 50 x 50mm thick supporting timber as may be directed | 13 | m2 |  | 0
E | Supply and fix plywood cladding complete with 50 x 50mm thick supporting timbers to steel wall as may be directed | 53 | m2 |  | 0
F | DOORS/WINDOWS
i | Allow for the supply and fixing of aluminium (Window frames) in size 1200 x 1200mm complete as may be directed | 3 | nr |  | 0
ii | Fix Burglary proof to windows complete with welding works in size 1200 x 1200mm high | 3 | nr |  | 0
iii | Supply and fix steel door complete with frames, locks and apply gloss paint in size 900 x 2100mm high | 2 | nr |  | 0
ROOF
F | Allow for steel roof members to Engineer's specifications and details. |  | lot |  | 1107000
G | Aluminium Sheet
0.5mm oven baked long span Aluminium Roofing sheet laid according to manufacturer's specification
i | Roof covering | 87 | m2 |  | 0
ii | Ridge Cap | 14 | m |  | 0
Wall Finishes
H | Internal
i | Prepare and apply two finishing coats of gloss paint on plywood cladding complete with partitions | 74 | m2
External
ii | Prepare and apply two finishing coats of gloss paint on steel wall (Externally) | 45 | m2
J | FLOOR FINISHES
Ceramic Tiling; Ceramic tiles approved colour in cement mortar on and including screeded bed & pointing in matching cement complete with adhessive
i | 300 x 300 x 8mm thick tiles (Internally) | 14 | m2 |  | 0
ii | 20mm Cement and sand Screed trowelled smooth to floor (waiting area) | 16 | m2 |  | 0
iii | Prepare and apply two coats of emulsion paint on ceiling soffit generally | 78 | m2 |  | 0
K | ELECTRICAL INSTALLATION
| Allow a provisional sum for Electrical works to include; general rewiring and trunking of alll surface wiring, provision of lighting fittings, fans,extractor fans, switches & sockets etc. |  | Item | 730500 | 730500
L | AIR CONDITIONING & VENTILATION
Supply install and commission the following Air conditioning equipments (Air Flow, LG or any appoved equal).
i | 1 Hp, 9,000btu/Hr split Air conditioning unit. | 1 | nos
ii | Allow for A/C refrigerant pipe and condensate pipe. | 1 | nos
iii | Allow for a pair of A/C steel hanger for outdoor unit. | 1 | Pairs
iv | Thermocool stabilizer TEC (5000watts). | 1 | nos
M | Furniture.
Supply and install the following good quality furniture.
1 | Drug shelf - 6ft metal shelf with door. | 1 | nos |  | 0
2 | 4 - drawers fire proof File cabinet | 1 | nos |  | 0
3 | 4ft Office table with side drawers | 1 | nos |  | 0
4 | Semi Executive Office chair | 2 | nos |  | 0
5 | 3 seater metal Patient Bench | 6 | nos |  | 0
Supply, install and commission the following refrigerator equipment (LG, Samsung or approved equal)
6 | Clinical sample storage. (Dirty fridge). | 1 | nos |  | 0
| Other supplies |  |  |  | 0
7 | Giostyle coolbox. (32 litres) | 1 | nos |  | 0
| Contingency |  |  |  | 550000
TOTAL

## IDH Lagos Mainland
S/N | Description of item | Qty | Unit | Rate | Amount
A | Furniture.
Supply and install the following good quality furniture.
1 | 4 - drawers fire proof File cabinet | 2 | nos |  | 0
2 | 4ft Office table with side drawers | 1 | nos |  | 0
3 | Semi Executive Office chair | 2 | nos |  | 0
4 | Fan - Ox 26" inches Industrial standing fan | 2 | nos |  | 0
5 | Rectangular foldable plastic table. | 6 | nos |  | 0
6 | Plastic Chair | 24 | nos |  | 0
| TOTAL |  |  |  | 0

## Oshodi-Isolo, Isolo GH.
S/N | Description of item | Qty | Unit | Rate | Amount
A | New Works
| Allow for the construction and installation of canopy/car port. (3300 x 3600 x 2700)mm. | 1 | Nos |  | 0
B | Furniture.
Supply and install the following good quality furniture.
1 | Drug shelf - 6ft metal shelf with door. | 1 | nos |  | 0
2 | 4 - drawers fire proof File cabinet | 1 | nos |  | 0
3 | Fan - Ox 26" inches Industrial standing fan | 1 | nos |  | 0
4 | 3 seater metal Patient Bench | 5 | nos |  | 0
5 | Metal base Weighing Scale; up to 500 Kg | 2 | nos |  | 0
Supply, install and commission the following refrigerator equipment (LG, Samsung or approved equal)
6 | Clinical sample storage. (Dirty fridge). | 1 | nos |  | 0
| TOTAL |  |  |  | 0

## Ajeromi, Ajeromi GH
S/N | Description of item | Qty | Unit | Rate | Amount
A | Furniture.
Supply and install the following good quality furniture.
1 | 4 - drawers fire proof File cabinet | 1 | nos |  | 0
2 | 4ft Office table with side drawers | 1 | nos |  | 0
3 | Semi Executive Office chair | 2 | nos |  | 0
4 | 3 seater metal Patient Bench | 4 | nos |  | 0
5 | Metal base Weighing Scale; up to 500 Kg | 2 | nos |  | 0
Supply, install and commission the following refrigerator equipment (LG, Samsung or approved equal)
6 | Clinical sample storage. (Dirty fridge). | 1 | nos |  | 0
| TOTAL |  |  |  | 0

## Ajeromi, Tolu PHC.
S/N | Description of Item | Qty | Unit | Rate | Amount
A | Maintenance works
| Carefully remove all the zinc roofing sheets and carefully discard away from site. |  | item
B | Allow for the replacement of damaged suspended ceiling boards. | 2 | m2 |  | 0
C | Allow for the complete replacement of the roof with dimension (6000mm x 4800mm), with accessories , ridges, eaves etc. | 46 | m2 |  | 0
D | Allow lump sum for making good the roof rafters and fascia. |  | item |  | 180000
E | Furniture.
Supply and install the following good quality furniture.
1 | Drug shelf - 6ft metal shelf with door. | 1 | nos |  | 0
2 | 4 - drawers fire proof File cabinet | 1 | nos |  | 0
3 | 4ft Office table with side drawers | 1 | nos |  | 0
4 | Semi Executive Office chair | 2 | nos |  | 0
5 | Fan - Ox 26" inches Industrial standing fan | 1 | nos |  | 0
6 | 3 seater metal Patient Bench | 5 | nos |  | 0
7 | Metal base Weighing Scale; up to 500 Kg | 2 | nos |  | 0
Supply, install and commission the following refrigerator equipment (LG, Samsung or approved equal)
8 | Clinical sample storage. (Dirty fridge). | 1 | nos |  | 0
TOTAL

## Shomolu, NOH Igbobi.
S/N | Description of item | Qty | Unit | Rate | Amount
A | Maintenance Works
| Allow for the removal of faulty AC unit | 1 | Nos |  | 0
B | AIR CONDITIONING & VENTILATION
Supply install and commission the following Air conditioning equipments (Air Flow, LG or any appoved equal).
i | 1.5Hp, 12,000btu/Hr split Air conditioning unit. | 1 | nos |  | 0
0
ii | Allow for A/C refrigerant pipe and condensate pipe. | 1 | nos |  | 0
0
iii | Allow for a pair of A/C steel hanger for outdoor unit. | 1 | Pairs |  | 0
0
iv | Thermocool stabilizer TEC (5000watts). | 1 | nos |  | 0
ELECTRICALS.
| Allow for the purchase of electrical consumables that include; sockets, extension plugs and wire. |  | lot |  | 250000
A | Furniture.
Supply and install the following good quality furniture.
1 | Fan - Ox 26" inches Industrial standing fan | 1 | nos |  | 0
2 | Make provision for the repair of faulty Air conditioner unit. |  | sum
TOTAL

## Eti-Osa, MCC Eti-Osa.
S/N | Description of item | Qty | Unit | Rate | Amount
SUBSTRUCTURE (BASE OF CONTAINER & WAITING AREA)
A | Top soil for preservation 150 average depth | 59 | m2 |  | 0
B | Trenches exceeding 300 wide 0.3m maximum depth; below existing ground level | 3 | m3 |  | 0
Disposal
C | Excavated material off site | 1 | m3 |  | 0
Selected Excavated Material
D | Filling to excavation over 250 average thick, obtained from on site spoil heaps; arising from excavations, depositing in layers 150mm maximum thickness | 1 | m3 |  | 0
E IN SITU CONCRETE/LARGE PRECAST CONCRETE
E10 IN SITU CONCRETE
Plain In-situ; Concrete (1:3:6 - all in aggregate)
E | Blinding bed 50 thick | 1 | m3 |  | 0
Reinforced; Concrete Grade 25.5; developing minimum 25.5N/mm2 work strength in 28 days
F | Foundation generally / 150mm thick Concrete bed | 6 | m3 |  | 0
G | Allow for erection of 100mm diameter Steel poles complete with excavation, concrete works and apply gloss paint | 6 | nr |  | 0
E20 FORMWORK FOR IN SITU CONCRETE
Formwork; Sawn Formwork
H | Edge of bed 150mm high | 24 | m |  | 0
F MASONRY
F10 BRICK/BLOCK WALLING
Blockwork; Solid sandcrete blockwork in cement mortar (1:6)
J | Walls 150mm thick (Below ground level) | 16 | m2 |  | 0
0
SUPERSTUCTURE
A | Allow a provisional sum for the supply and installation of PortaCabin suitable for office used in size 6000 x 2500 x 2800mm high complete with wooden floor and all its accessories as may be directed. |  | item |  | 0
Walls Partitions & Claddings
B | Supply and fix plywood partitions complete with 50 x 50mm thick supporting timber as may be directed | 13 | m2 |  | 0
C | Supply and fix plywood cladding complete with 50 x 50mm thick supporting timbers to steel wall as may be directed | 53 | m2 |  | 0
DOORS/WINDOWS
D | Allow for the supply and fixing of aluminium (Window frames) in size 1200 x 1200mm complete as may be directed | 3 | nr |  | 0
G | Fix Burglary proof to windows complete with welding works in size 1200 x 1200mm high | 3 | nr |  | 0
K | Supply and fix steel door complete with frames, locks and apply gloss paint in size 900 x 2100mm high | 2 | nr |  | 0
ROOF
| Allow for steel roof members to Engineer's specifications and details. |  | lot | 890000 | 890000
Aluminium Sheet
0.5mm oven baked long span Aluminium Roofing sheet laid according to manufacturer's specification
G | Roof covering | 72 | m2 |  | 0
H | Ridge Cap | 9 | m |  | 0
Wall Finishes
Internal
J | Prepare and apply two finishing coats of gloss paint on plywood cladding complete with partitions | 74 | m2
External
K | Prepare and apply two finishing coats of gloss paint on steel wall (Externally) | 45 | m2
FLOOR FINISHES
Ceramic Tiling; Ceramic tiles approved colour in cement mortar on and including screeded bed & pointing in matching cement complete with adhessive
A | 400 x 400 x 8mm thick tiles (Internally) | 14 | m2 |  | 0
| 401 x 400 x 8mm thick tiles (external for waiting area) | 48 | m2 |  | 0
B | 20mm Cement and sand Screed trowelled smooth to floor (waiting area) | 16 | m2 |  | 0
D | Prepare and apply two coats of emulsion paint on ceiling soffit generally | 78 | m2 |  | 0
ELECTRICAL INSTALLATION
E | Allow a provisional sum for Electrical works to include; general rewiring and trunking of alll surface wiring, provision of lighting fittings, fans,extractor fans, switches & sockets etc. |  | Item | 730500 | 730500
G | AIR CONDITIONING & VENTILATION
Supply install and commission the following Air conditioning equipments (Air Flow, LG or any appoved equal).
i | 1 Hp, 9,000btu/Hr split Air conditioning unit. | 1 | nos
ii | Allow for A/C refrigerant pipe and condensate pipe. | 1 | nos
iii | Allow for a pair of A/C steel hanger for outdoor unit. | 1 | Pairs
iv | Thermocool stabilizer TEC (5000watts). | 1 | nos
B | Furniture.
Supply and install the following good quality furniture.
1 | Drug shelf - 6ft metal shelf with door. | 1 | nos |  | 0
2 | 4 - drawers fire proof File cabinet | 1 | nos |  | 0
3 | 4ft Office table with side drawers | 2 | nos |  | 0
4 | Semi Executive Office chair | 4 | nos |  | 0
5 | Fan - Ox 26" inches Industrial standing fan | 1 | nos |  | 0
6 | 3 seater metal Patient Bench | 5 | nos |  | 0
7 | Metal base Weighing Scale; up to 500 Kg | 2 | nos |  | 0
C | Supply, install and commission the following refrigerator equipment (LG, Samsung or approved equal)
8 | Clinical sample storage. (Dirty fridge). | 1 | nos |  | 0
9 | Provide Stationeries to include the following; stapler & stapler pins, scissors, paper tape & mopping stick |  | sum |  | 50000
| Contingency |  |  |  | 550000
TOTAL

## Ojo, Ilogbo Central hosp.
S/N | Description of item | Qty | Unit | Rate | Amount
A | Furniture.
Supply and install the following good quality furniture.
1 | Drug shelf - 6ft metal shelf with door. | 1 | nos | 240500
2 | 4ft Office table with side drawers | 1 | nos | 149500
3 | Semi Executive Office chair | 2 | nos | 105137
4 | Metal base Weighing Scale; up to 500 Kg | 2 | nos | 247000
Supply, install and commission the following refrigerator equipment (LG, Samsung or approved equal)
5 | Clinical sample storage. (Dirty fridge). | 1 | nos | 635310
6 | Other supplies
| Giostyle coolbox. (32 litres) | 1 | nos | 208000
7 | Provide Stationeries to include the following; stapler & stapler pins, scissors, paper tape. |  | sum |  | 50000
TOTAL

## Ikorodu, St Raphael.
S/N | Description of item | Qty | Unit | Rate | Amount
A | Furniture.
Supply and install the following good quality furniture.
1 | 4ft Office table with side drawers | 1 | nos | 149500
Supply, install and commission the following refrigerator equipment (LG, Samsung or approved equal)
2 | Clinical sample storage. (Dirty fridge). | 1 | nos | 635310
| TOTAL |  |  |  | 0

## Ifako-Ijaye, Ahmadiya Muslim H
S/N | Description of item | Qty | Unit | Rate | Amount
A | AIR CONDITIONING & VENTILATION
Supply install and commission the following Air conditioning equipments (Air Flow, LG or any appoved equal).
i | 1.5Hp, 12,000btu/Hr split Air conditioning unit. | 1 | nos | 754000
ii | Allow for A/C refrigerant pipe and condensate pipe. | 1 | nos | 40000
iii | Allow for a pair of A/C steel hanger for outdoor unit. | 1 | Pairs | 20000
iv | Thermocool stabilizer TEC (5000watts). | 1 | nos | 420000
B | Provide Stationeries to include the following; stapler & stapler pins, scissors, paper tape. |  | sum |  | 50000
TOTAL

## Ifako-Ijaye, Hamkad hospital.
S/N | Description of item | Qty | Unit | Rate | Amount
A | Supply, install and commission the following refrigerator equipment (LG, Samsung or approved equal)
1 | Clinical sample storage. (Dirty fridge). | 1 | nos | 635310
Other supplies
2 | Giostyle coolbox. (32 litres) | 1 | nos | 208000
3 | Provide Stationeries to include the following; stapler & stapler pins, scissors, paper tape. |  | sum |  | 50000
TOTAL

## Onigbongbon PHC
S/N | Description of item | Qty | Unit | Rate | Amount
A | NEW WORKS.
White powder coated rebated Aluminium frame window with 8mm thick tinted laminated safety glazing complete with sub-frame, thermal barriers, integral mullions, fly screen netting complete with accessories fixed to manufacturer's details. (Tower or equal approved)
i | Aluminum, sliding windows 900x1200mm | 1 | nr | 129600
B | Furniture.
Supply and install the following good quality furniture.
1 | 4ft Office table with side drawers | 1 | nos | 149500
2 | Semi Executive Office chair | 1 | nos | 105137
3 | Ergocentric lab stools | 2 | nos | 155500
0
| TOTAL |  |  |  | 0

## Summary
SUMMARY
S/N | SITES | AMOUNT
1 | Gbagada GH Kosofe LGA | 0
2 | IDH Lagos Mainland (Mainland Hospital, Yaba) | 0
3 | Oshodi- Isolo, Isolo GH | 0
4 | Ajeromi, Ajeromi GH | 0
5 | Ajeromi, Tolu PHC | 0
6 | Shomolu, NOH Igbobi | 0
7 | Eti-Osa, MCC Eti-Osa | 0
8 | Ojo Ilogbo Central Hospital | 0
9 | Ikorodu, St Rapheal Hospital | 0
10 | Ifako-Ijaye, Ahmadiya Muslim Hospital | 0
11 | Ifako-Ijaye, Hamkad Hospital | 0
12 | Onigbongbon PHC | 0
| TOTAL | 0