## COVER
LOT 4
INSTALLATION AND MAINTENANCE ACTIVITY TO
RESOLVE ELECTRICAL, MECHANICAL AND STRUCTURAL CHALLENGES IN
THE TUBERCULOSIS REFERENCE LABORATORY
AT
NORTH EAST ZONAL TUBERCULOSIS REFERENCE LABORATORY
MODIBBO ADAMA UNIVERSITY TEACHING HOSPITAL
YOLA, ADAMAWA STATE
INSTITUTE OF HUMAN VIROLOGY NIGERIA
DATE
2024-10-23

## UNPRICED BILL
S/N | DESCRIPTION OF ITEM | QTY | UNIT | UNIT PRICE | AMOUNT
A | BACK UP POWER: Refurbishment of Faulty inverter system |  |  |  | 0
0
i | Circuit reconfiguration of existing solar array |  | Item | 1300000
ii | Maintenance and upgrade of existing 12 way DC Combiner Box | 1 | Nr |  | 0
iii | Purchase and install 120A charge controller | 3 | Nr |  | 0
iv | Purchase and install 10KWH Lithium ion batteries | 9 | Nr |  | 0
v | Not less than 10KVA DC to AC, Online, Pure sinewave Inverter | 3 | Nr |  | 0
vi | Purchase and install DC PV Disconnect 120 amps (Solar Array Guard) | 3 | Nr |  | 0
vii | Purchase and install 3 phase Changeover switch 200Amps | 1 | Nr |  | 0
viii | DC cabling 16mm –35mm² Single/Dual Core Flex, PVC, PCP Cable | 60 | Mtrs |  | 0
ix | Alternate supply/load cable 10mm² 16 mm² three Core RHZ1 non amored Cable. | 20 | Mtrs |  | 0
x | Purchase and install appropraite Distribution box/Bus | 1 | Nrs |  | 0
xi | Maintenance and reinforcement of Full Grounding station |  | Item | 200000
xii | Termination ascessories |  | Item | 70000
xiii | Wall preparation and installation Support surface |  | Item | 33000
xix | Circuiting and redress |  | Item | 40000
B | AIR CONDITIONING & VENTILATION
i | Supply install and commission the following Air conditioning equipments (Air Flow, LG or any appoved equal).
ii | 1.5Hp, 12,000btu/Hr split Dual inverter Air conditioning unit. | 10 | Nrs |  | 0
iii | Allow for A/C refrigerant pipe and condensate pipe. | 10 | Nrs |  | 0
iv | Allow for a pair of A/C steel hanger for outdoor unit. | 10 | Pairs |  | 0
v | Allow for maintaining and servicing of all existing Acs |  | Item | 500000
vi | Allow for the supply and installation of GX12 Xpelair extractor fan. (12") | 2 | Nrs |  | 0
vii | Servicing and general maintenance of all faulty smoke detectors (16 nos) |  | Item | 250000
C | ANCILLARY
i | No eyewash stations | 1 | Nrs |  | 0
ii | Allow for the supply and installation of intercom sets at the laboratory | 5 | Nrs |  | 0
iii | Allow for the replacement of faulty incinerator with model MED 240 incinerator; 800-1200ºC, smoke & odour free, 75Kg/hr capacity. | 1 | Nrs |  | 0
D | ROOF (EXTERNAL AND INTERNAL)
i | Allow for the repair of leakage on damaged roof. | 1 | item | 1000000
E | GENERAL WORKS (EXTERNAL AND INTERNAL)
EXTERNAL
1 | Complete renovation of external parts of the DoT Centre Building viz:
i | Contruct waiting area outside the DOT Clinic to include poles, roof works and raised concrete floor |  | item | 2200000
ii | Allow for maintenace and application of 2 coats of satin paint for walls (10m X 7.0m) | 102 | m² |  | 0
iii | Allow for maintenace of facia boards and replacement of failed roofing sheets | 34 | m |  | 0
2 | Complete renovation of Staining Area and Store building viz:
i | Allow for maintenace and aplication of 2 coats of satin paint for walls (11m X 7.5m) | 111 | m² |  | 0
ii | Allow for maintenace of facia boards | 37 | m |  | 0
iii | Allow for replacement of failed roofing sheets | 105 | m² |  | 0
INTERNAL
Admin
3 | Complete renovation of internal admin to include screeding, PoP repair, Painting, Tiles, Light Fitting, Bulbs, repair of windows, windows blind etc viz:
0
i | Allow for maintenace and aplication of 2 coats of satin paint for walls | 87 | m2 |  | 0
ii | Allow for maintenace of POP ceiling and aplication of 2 coats of emulsion paint. | 52 | m2 |  | 0
iii | Maintenance of broken and bad windows (2 nos) |  | item | 75000
iv | Supply and install window blinds | 12 | m2 |  | 0
v | Remove anf fix tiles on floor with glazed vitrified tiles | 52 | m2 |  | 0
vi | Allow for electrical works to include cabking, truncking and fittings |  | item | 100000
4 | Admin Convienience
i | Allow for replacement of WC | 1 | nr |  | 0
ii | Wash Hand Basin; complete with automatic sensor tap. | 1 | Nrs |  | 0
ii | Allow for electrical works to include cabling and fittings |  | item | 55000
LUNCH RROM
5 | Provide for repair replacement of PoP, wall painting, window blinds, door and light fiitings viz:
i | Allow for maintenace and aplication of 2 coats of satin paint for walls (6m X 4m) | 60 | m2 |  | 0
ii | Allow for maintenace of POP ceiling and aplication of 2 coats of emulsion paint. | 24 | m2 |  | 0
iii | Maintenance of broken and bad doors |  | item | 100000
iv | Supply and install window blinds | 3.6 | m2 |  | 0
v | Allow for electrical works to include cabling and fittings |  | item | 55000
DATA AND ADMIN OFFICE
6 | Allow for the replacement and repair of PoP, wall painting, window blind, light fittings, bulbs and office chair
i | Allow for maintenace and aplication of 2 coats of satin paint for walls (6m X 4m) | 60 | m² |  | 0
ii | Allow for maintenace of POP ceiling and aplication of 2 coats of emulsion paint. | 24 | m² |  | 0
iii | Maintenance of broken or bad office chair |  | item | 100000
iv | Supply and install window blinds | 1.8 | m² |  | 0
v | Allow for electrical works to include cabling and fittings |  | item | 55000
7 | ADMIN OFFICE AND CULTURE RECEPTION
i | Allow for the replacement of light fittings | 14 | Nrs |  | 0
ii | Allow for the office chair and Table | 1 | Pair |  | 0
8 | WASH ROOM
i | Allow for the repair and painting of PoP |  | item | 55000
ii | Allow for the replacement of lights fittings and bulbs | 7 | Nrs |  | 0
9 | SAMPLE RECEPTION
i | Allow for the Epoxy Floor on sample reception room area 20sqm | 20 | m² |  | 0
ii | Allow for the Plumbing works |  | item | 65000
iii | Allow for the purchase and replacement of light fittings | 5 | Nrs |  | 0
10 | MICROSCOPY AND GENEXPERT
i | Allow for the repair and painting of PoP |  | item | 65000
ii | Allow for the puchase and replacement of light fittings and bulbs | 6 | Nrs |  | 0
11 | PCR LAB AND AMPLIFICATION AREA
i | Allow for the repair and painting of PoP |  | item | 80900
ii | Allow for the light fittings and bulbs replacement | 14 | Nrs |  | 0
iii | Allow for the wall screeding and painting | 36 | m² |  | 0
iv | Allow for door repair | 1 | Nrs |  | 0
v | Allow for Lab stool | 3 | Nrs |  | 0
12 | PCR SAMPLE PREPARATION AREA
i | Allow for the repair and painting of PoP |  | item | 65000
ii | Allow for the purchase and replacement of light fittings | 6 | Nrs |  | 0
iii | Allow for the supply of Lab. stool | 3 | Nrs |  | 0
13 | PCR LOBBY AREA
i | Allow for the repair and painting of PoP |  | item | 120000
ii | Allow for the purchase and replacement of light fitting and bulbs | 3 | Nrs |  | 0
iii | Allow for the purchase and replacement of light fitting and bulbs | 5 | Nrs |  | 0
14 | STAINING AREA AND STORE AREA
i | Allow for the plumbing works and soak-away |  | item | 850000
ii | Allow for the electrical works to include cabling, fittings, switches |  | item | 112000
F | SURVEILANCE
Supply, install and commission 8 Nos cctv cameras & assessories at the facility
i | IP AI PoE Active Devices
i | Dahua Technology A21Bj02 4mp 2.0plus Dome Ds-Digital Dome Camera Night Vision Camera (IR) PoE Spec:- dual-stream, IP66, DC12V & PoE, WDR, DWDR, 3D DNR, BLC, Intrusion-Line Crossing Detection, IR range: up to 30m | 6 | Nr |  | 0
ii | 4MP Verifocal IP Bullet Night Vision Camera (IR) PoE Spec:- dual-stream, IP66, DC12V & PoE, WDR, DWDR, 3D DNR, BLC, Intrusion-Line Crossing Detection, IR range: up to 30m | 2 | Nr |  | 0
iii | 4TB Surveillance HDD Video Storage Hard Disk Drive WD Purple 3.5-inch, SATA 6 Gb/s, Intellipower, -5m-HDMI, 2.4GHz M180 Wireless Mouse | 2 | Nr |  | 0
iv | AI NVR PoE -16Channel K-Series AI Controller (Network Video recorder) Spec:- 1Gbps Bit Rate Input Max (up to 16-ch HD IP video), SATA Interfaces, HD Remote Viewing. | 1 | Nr |  | 0
2 | Cabling Accessories, Appliancies
i | Network Cabling and materials 4 Spools of Cat7e UTP Outdoor Cables, Cabling Accessories: Adaptable Boxes, Connector clips, Fasteners, Spiral PVC, Tie locks, Sticktapes |  | item | 630000
ii | Patch Panel, PDU,Cable Manager,Patch cable | 1 | Nr |  | 0
iii | 6U RACK and with Accessories. | 1 | Nr |  | 0
iv | 32inh TV Monitor and 4K HDMI Cables | 1 | Nr |  | 0
v | Installation and integration |  | item | 450000
G | ELECTRICAL POWER
i | Purchase and installation of 150KVA AVR | 1 | Nr |  | 0
III | Purchase and installation of 400amps RCB Breaker | 1 | Nr |  | 0
iii | Purchase and installation of 16mm² - 35mm² Supply and distribution cable | 40 | Mtrs |  | 0
iv | Cable terminations |  | item | 134000
2 | TRANSFORMER WORKS
I | Purchase and install New 100KVA 33/415 stepdown transformer | 1 | Nr |  | 0
II | Installation and terminal accessories | 1 | Nr |  | 0
TOTAL