## COVER
LOT 6
INSTALLATION AND MAINTENANCE ACTIVITY TO
RESOLVE ELECTRICAL, MECHANICAL AND STRUCTURAL CHALLENGES IN
THE TUBERCULOSIS REFERENCE LABORATORY
AT
SOUTH EAST ZONAL TUBERCULOSIS REFERENCE LABORATORY
ABIA STATE SPECIALIST HOSPITAL
AMACHARA, ABIA STATE
INSTITUTE OF HUMAN VIROLOGY NIGERIA
DATE
2024-10-23

## UNPRICED BILL
S/N | DESCRIPTION OF ITEM | QTY | UNIT | UNIT PRICE | AMOUNT
A | ROOF MAINTENANCE
i | Make good roofing sheets |  | item | 2500000
0
B | WALLS AND PAINTING
i | Allow for the supply and installation of GX12 Xpelair extractor fan. (12") | 1 | Nrs |  | 0
ii | Apply and paints two coats of emulsion to external walls | 1350 | m² |  | 0
0
D | ELECTRICAL POWER |  |  |  | 0
i | Circuit reconfiguration of existing solar array |  | Item | 1300000
ii | Maintenance and upgrade of existing 12 way DC Combiner Box | 1 | Nr |  | 0
iii | Purchase and install 120A charge controller | 3 | Nr |  | 0
iv | Not less than 10KVA DC to AC, Online, Pure sinewave Inverter | 3 | Nr |  | 0
v | Purchase and install DC PV Disconnect 120 amps (Solar Array Guard) | 3 | Nr |  | 0
vi | Purchase and install 3 phase Changeover switch 200Amps | 1 | Nr |  | 0
vii | DC cabling 16mm –35mm² Single/Dual Core Flex, PVC, PCP Cable | 60 | Mtrs |  | 0
viii | Alternate supply/load cable 10mm² 16 mm² three Core RHZ1 non amored Cable. | 20 | Mtrs |  | 0
ix | Purchase and install appropraite Distribution box/Bus | 1 | Nrs |  | 0
x | Maintenance and reinforcement of Full Grounding station |  | Item | 200000
xi | Termination ascessories |  | Item | 70000
xii | Wall preparation and installation Support surface |  | Item | 33000
xiii | Circuiting and redress |  | Item | 40000
xix | Splitting of existing battery bank for reconfigured solar array |  | Item | 1200000
TOTAL