## Sheet1
BUDGET FOR PCR LAB OPTIMIZATION
LOT 1 | LASUTH, LAGOS STATE
Component 1:
BILL Nr 1- PRELIMINARIES FOR PROPOSED WORKS AT MAIN LAB, LAB 2, DATA ROOM AND REPOSITORIES, IN THE PCR LABORATORIES AT:
LASUTH LAGOS STATE
PRELIMINARIES
1 | Site Clearing
2 | Setting out
3 | Contractor to keep records
4 | Progress photograph in 3 sets on monthly basis with site progress report on the basis
5 | Protection of work in all sections
6 | Access: Maintaining of the existing road adjoining the site for the duration of the work.
7 | Offices - site offices for use by the contractor for the project durationtion including running/maintenance of the office.
8 | Sanitary accommodation
9 | Temporary fences, hoardings, sheds, buildings, screens and roofs
10 | Name boards - 1 Nr
11 | Temporary Power including standby generator for general use by main contractor and subcontractors
12 | Temporary Water for the works, including for general use by the main contractor and sub-contractors for the duration of the contract.
13 | Safety, health and welfare -Helmets, Boots, raincoats, 1st AID box and medication
14 | Storage of materials including lock-up spaces for specialist sub-contractors.
15 | Rubbish disposal and general cleaning
16 | Exterminate and prevent pests/Fumigations
17 | Scaffolding and requisite plants/equipment
18 | Watching & Lighting - Site Security including day and night security staff. 2Nr points to be constructed.
| TOTAL |  |  |  | 1500000
LASUTH, LAGOS STATE
S/N | DESCRIPTION OF ITEM | QTY | UNIT | UNIT PRICE | AMOUNT
MAIN LAB, LAB 2, DATA ROOM & REPOSITORY
A | DEMOLITION
i | Allow for the decommissioning and evacuation of existing inverters and batteries and dispose of as directed |  | Item | 100000 | 100000
ii | Carefully remove existing damaged worktops and dispose off as directed |  | Item | 50000 | 50000
B | WALLS AND PAINTING
i | Screed and paints: Two coats of Satin to internal walls with Dulux or equal or approved. | 231 | m² |  | 0
0
| Ditto to ceiling soffits | 51 | m² |  | 0
C | FIRE ALARM SYSTEMS
Supply, install and commission fire alarm system & assessories at the facility
i | Smoke detectors | 10 | nr |  | 0
ii | Control Panel -2 zone | 1 | nr |  | 0
iii | Sounders | 2 | nr |  | 0
iv | Call point | 2 | nr |  | 0
v | Fire resistant cable | 2 | rolls |  | 0
vi | Power batteries | 2 | nr |  | 0
vi | Assessories and terminations | 1 | item | 450000 | 450000
D | FIRE EXTINGUISHERS
i | Supply, install and commission 4 Nos of DCP ABC classified fire extinguishers at the facility- 9kg | 4 | nrs |  | 0
E | DOORS AND WINDOWS
i | Allow for maintenance of existing doors | 1 | Item | 450000 | 450000
ii | Fabricate and install a 1300mm x 2100mm powder coated aluminium door with 8mm thick glass, frosted. | 1 | nr |  | 0
F | BIOMETRIC ACCESS CONTROL
i | Provide and install SMART biometric access control for entrance doors including all accessories (Sample reception, Main lab and Repository) | 2 | nrs |  | 0
G | HATCH BOXES
i | Provide for supply and installation of hatch box in size 450mm x 600mm x 600mm, within the sample reception area of the PCR lab to with attendant civil works : | 1 | nr |  | 0
H | ELECTRICAL POWER |  |  |  | 0
1 | General fixtures
i | Allow for fixing of DB, failed and damaged light fixtures, switches, sockets , power points, brackets and wholesome circuitry to include relocation and consolidation of existing solar system | 1 | Item | 3375000 | 3375000
I | FURNITURE
i | Supply and install Semi Executive Office chairs, with adjustable back rest | 2 | nr |  | 0
ii | Purchase and install semi executive table 4ft table: 1500mm X 750mm | 2 | nr |  | 0
| Supply and install workstation in size 2800mm | 1 | nr |  | 0
J | RACKS
| Supply and install metal racks in sizes : 2400mm x 900mm x 450mm | 10 | nr |  | 0
K | WORKTOPS
Supply and fix (Acid proof) Soft HDF with 0.5mm edging Base unit, water resistant chipboard and 0.7mm acid and Alkaline resistant HPL laminated Worktop/Syntetic Granite elevated on VOLPATO adjustable legs complete with accessories
i | Work top | 7 | m
ii | Wall unit | 6 | m
iii | Island bench | 3 | m
iii | Acrylic wash Hand basin installed to work top complete with elbow controlled taps, accessories and all necessary plumbing works | 2 | Nr
G | Lab stools with arm and back rest leather finish | 6 | Nr
L | AIR-CONDITIONING AND VENTILATION
supply install and commision the fllowing Air-conditioning equipments (Air flow,L.G. approved equal) Inverter AC
i | 1.5HP, 12,000btu/Hr spit unit including kits | 6 | Nr
ii | Allow for A/C steel hanger for outdoor units | 6 | Nr
ii | Allow for the supply and installation of GX 9 Xpelair extractor fan. (9") or equal and approved inline fan for exhaust and properly ducted to Engineers specification | 1 | Nr
M | FLOOR FINISHES.
M12 TROWELLED BITUMEN/RESIN/RUBBER-LATEX
5mm thick impact resistant multi-layer solvent free Releveling industrial epoxy flooring system comprising priming with TECHNOFIX 110, and 2 layer of TECHNOPAV EP 185; TECNOEPO or other approved equal Epoxy flooring system.
i | General surface; Main lab. | 80 | m2 |  | 0
N | PREFAB INVERTER ROOM
i | Allow for the fabrication of a 3x3x3m inverter room with steel stanchons and metals plates cladded internally with stell roofing trussess and alluminum sheets. Including all electrical wiring and civil works to Architects and engineers specification and details | 1 | Item | 5000000 | 5000000
O | EXTERNAL WORKS
i | Allow for maintenance of external soft and hard landscape | 1 | Item | 500000 | 500000
0
TOTAL