## Sheet1
BOQ FOR PCR LAB INFRASTRUCTURAL UPGRADE
LOT 2 | UDUTH SOKOTO STATE
Component 1:
BILL Nr 1- PRELIMINARIES FOR PROPOSED WORKS AT THE PCR SUITE, DATA AND DOCUMENTATION ROOM, REPOSITORY, IMMUNOLOGY, PREPARATION AND SEPERATION AND ANNEX SECTIONS IN THE PCR FACILITY AT: UDUTH, SOKOTO STATE
PRELIMINARIES
1 | Site Clearing
2 | Setting out
3 | Contractor to keep records
4 | Progress photograph in 3 sets on monthly basis with site progress report on the basis
5 | Protection of work in all sections
6 | Access: Maintaining of the existing road adjoining the site for the duration of the work.
7 | Offices - site offices for use by the contractor for the project durationtion including running/maintenance of the office.
8 | Sanitary accommodation
9 | Temporary fences, hoardings, sheds, buildings, screens and roofs
10 | Name boards - 1 Nr
11 | Temporary Power including standby generator for general use by main contractor and subcontractors
12 | Temporary Water for the works, including for general use by the main contractor and sub-contractors for the duration of the contract.
13 | Safety, health and welfare -Helmets, Boots, raincoats, 1st AID box and medication
14 | Storage of materials including lock-up spaces for specialist sub-contractors.
15 | Rubbish disposal and general cleaning
16 | Exterminate and prevent pests/Fumigations
17 | Scaffolding and requisite plants/equipment
18 | Watching & Lighting - Site Security including day and night security staff. 2Nr points to be constructed.
| TOTAL |  |  |  | 1500000
S/N | DESCRIPTION OF ITEM | QTY | UNIT | UNIT PRICE | AMOUNT
1 | GENERAL DEMOLITION
i | Allow for the decommisionning of failed systems parts, fittings, equipment, and infrastructure: Light fittings, Inverter systems and failed inverter batteries, Work tops etc | 1 | Item | 100000 | 100000
ii | Allow for careful removal and carting away of decomissioned failed systems, parts, fittings, equipment damaged work tops, work doors and windows etc for disposal or as directed | 1 | Item | 100000 | 100000
2 | GENERAL WORKS
A | ROOF MAINTENANCE
i | Provide for Making good roofing sheets, failed rafters with attendant wood works | 1 | Item | 500000 | 500000
ii | Make good Ceilings | 16.1 | m² |  | 0
B | FIRE ALARM SYSTEMS
Supply, install and commission fire alarm system & assessories at the facility
i | Smoke detectors | 19 | nr |  | 0
ii | Control Panel -2 zone | 1 | nr |  | 0
iii | Sounders | 3 | nr |  | 0
iv | Call point | 3 | nr |  | 0
v | Fire resistant cable | 5 | rolls |  | 0
vi | Power batteries | 2 | nr |  | 0
vi | Assessories and terminations | 1 | item | 350000 | 350000
D | FIRE EXTINGUISHERS
i | Supply, install and commission 4 Nos of DCP ABC classified fire extinguishers at the facility- 9kg | 4 | nrs |  | 0
E | WALLS AND PAINTING
i | Screed and paints: Two coats of Satin to internal walls with Dulux or equal or approved. | 1297 | m² |  | 0
F | ELECTRICAL POWER |  |  |  | 0
General fixtures
i | Allow for fixing of DB, failed and damaged light fixtures, switches, sockets , power points, brackets and circuit redress etc | 1 | Item | 2500000 | 2500000
ii | Provide for complete rewiring of the PCR Facility and sections from incomer power staions to load centers and distribution sockets with attendant civil works | 1 | Item | 17500000 | 17500000
iii | Provide for replacement of 48v 15kwh Li-Fe inverter batteries and circuit terminations and redress | 2 | nrs |  | 0
G | FURNITURE
i | Supply and install Semi Executive Office chairs, with adjustable back rest | 8 | nrs |  | 0
ii | Purchase and install semi executive 4 ft table 1500mm X 750mm | 4 | nrs |  | 0
iii | Lab stools with arm and back rest leather finish | 8 | nrs |  | 0
iv | Supply and install drape lines and wooden hangers for overalls and lab coats 1.3mtrs | 1.3 | m |  | 0
H | FLOOR FINISHES.
M12 TROWELLED BITUMEN/RESIN/RUBBER-LATEX
5mm thick impact resistant multi-layer solvent free Releveling industrial epoxy flooring system comprising priming with TECHNOFIX 110, and 2 layer of TECHNOPAV EP 185; TECNOEPO or other approved equal Epoxy flooring system.
| General surface; Main lab. | 39 | m2 |  | 0
I | DOORS AND WINDOWS
i | Supply and install security steel double doors 1200 X 2100 according to engineers specification | 3 | nr |  | 0
0
ii | Supply and install security steel double doors 1500 X 2100 according to engineers specification | 1 | nrs |  | 0
iii | Allow for maintaning existing fabricated metal exit door including welding, smoothening painting, installation of new latches etc | 1 | nr |  | 0
iv | Allow for maintenance of existing doors: | 1 | Item | 200000 | 200000
v | Allow for maintenance of existing windows: | 1 | Item | 140000 | 140000
J | WORKTOPS
Supply and fix (Acid proof) Soft HDF with 0.5mm edging Base unit, water resistant chipboard and 0.7mm acid and Alkaline resistant HPL laminated Worktop/Syntetic Granite elevated on VOLPATO adjustable legs complete with accessories
i | Work top | 20 | m |  | 0
ii | Wall unit | 6 | m |  | 0
iii | Acrylic wash hand basin installed to work top complete with elbow controlled taps, accessories and all necessary plumbing works | 2 | nrs |  | 0
iv | Plastic pallets : 1200mm x 1000mm | 13 | nr |  | 0
v | Provide for partitioning of area between clean sinks and dirty sinks 0.8m x 1.8m | 1.5 | m² |  | 0
K | AIR-CONDITIONING AND VENTILATION
supply install and commision the following Air-conditioning equipments (Air flow,L.G. approved equal) Inverter AC
i | 1.0HP, 9,000btu/Hr split unit including kits | 1 | nr |  | 0
ii | 1.5HP, 12,000btu/Hr spit unit including kits | 12 | nrs |  | 0
iv | Allow for A/C steel hanger for outdoor units | 12 | nrs |  | 0
L | HATCH BOXES
i | Provide for supply and installation of hatch box in size 450mm x 600mm x 600mm, within the sample reception area of the PCR lab to with attendant civil works : | 1 | nr |  | 0
M | RACKS
i | Supply and install metal racks in sizes : 2400mm x 900mm x 450mm | 13 | nr |  | 0
N | DOOR CLOSERS
i | Supply and install impact resistant 4 inch spring hinge automatic door closers | 6 | nrs |  | 0
O | BIOMETRIC ACCESS CONTROL
i | Provide and install SMART biometric access control for entrance doors including all accessories (Sample reception, Main lab and Repository) | 3 | nrs |  | 0
P | WASTE DISPOSAL
i | Supply and install medical waste disposal bins with wheels and lockable lids (240 litres) | 1 | nr |  | 0
Q | EYE WASH STATION
i | Supply and install emergency eye wash station | 1 | nr |  | 0
R | MECHANICAL WORKS
| Provide for making good 2 nos toilets with replacement of toilet seats, sinks and attendant plumbing works |  |  |  | 0
i | Water closets and toilet seats | 2 | nr |  | 0
ii | Wash hand basin | 1 | nr |  | 0
iii | Plumbing and civil works | 1 | item | 100000 | 100000
iv | Cleaning of tiles | 1 | Item | 35000 | 35000
ii | Provide for replacement of existing pvc ceilings with pop finishing of dimentions 7.5m x 5.2m within the PCR suite: | 39 | m² |  | 0
TOTAL