## Sheet1
BOQ FOR PCR LAB INFRASTRUCTURAL UPGRADE
LOT 4 | UNIVERSITY OF MAIDUGURI TEACHING HOSPITAL, PCR LABORATORY, MAIDUGURI, BORNO STATE
Component 1:
ITEMS | DESCRIPTIONS | QTY | UNIT | RATE | AMOUNT
BILL Nr 1- PRELIMINARIES FOR PROPOSED
WORKS AT UMTH PCR LABORATORY
MAIDUGURI, BORNO STATE
PRELIMINARIES
1 | Site Clearing
2 | Setting out
3 | Contractor to keep records
4 | Progress photograph in 3 sets on monthly basis with site progress report on the basis
5 | Protection of work in all sections
6 | Access: Maintaining of the existing road adjoining the site for the duration of the work.
7 | Offices - site offices for use by the contractor for the project durationtion including running/maintenance of the office.
8 | Sanitary accommodation
9 | Temporary fences, hoardings, sheds, buildings, screens and roofs
10 | Name boards - 1 Nr
11 | Temporary Power including standby generator for general use by main contractor and subcontractors
12 | Temporary Water for the works, including for general use by the main contractor and sub-contractors for the duration of the contract.
13 | Safety, health and welfare -Helmets, Boots, raincoats, 1st AID box and medication
14 | Storage of materials including lock-up spaces for specialist sub-contractors.
15 | Rubbish disposal and general cleaning
16 | Exterminate and prevent pests/Fumigations
17 | Scaffolding and requisite plants/equipment
18 | Watching & Lighting - Site Security including day and night security staff. 2Nr points to be constructed.
| TOTAL |  |  |  | 2000000
ITEMS | DESCRIPTIONS | QTY | UNIT | RATE | AMOUNT
BILL Nr 2: MAIN BUILDING
ELEMENT NO. 1: DEMOLITIONS
1.3 DEMOLITIONS
A | Carefully scrape-off existing floor finishes at the Lab
| areas and cart away debris from site. Prepare general surfaces to receive new work (275SM) | 275 | m²
B | Carefully remove existing door size 1800 x 2100mm
| high and keep as directed. Prepare general surfaces | 2 | nr
to receive new doors.
C | Ditto; 1200 x 2100mm high and keep as directed. | 3 | nr
D | Ditto; 750 x 2100mm high and keep as directed. | 3 | nr
E | Carefully cut through existing 230mm thick blockwall
| to creat new door size 900 X 2100mm in Female Call | 1 | nr
room, remove debris from site and prepare the
F | Remove existing worktop concrete in Activation Room
| 1; size 1500 x 1000 x 1000mm high and cart away all | 1 | nr
debris from site
G | Take down existing aluminium partition size 7390 x 3000mm and keep as instructed | 1 | nr
H | Remove existing defective AC at Application and Detention room and keep as instructed | 1 | nr
DEMOLITIONS CARRIED TO SUMMARY
A | NEW WORKS ELEMENT NO. 2: SANDCRETE HOLLOW BLOCK WORK SCOPE; Works include blocking of existing entrance at Female Call Room, Concrete work for linted at the new access door and building of dwalf wall at the entrance to block entrance of running waters. Scope 1.14: Brick/Block walling Sandcrete hollow blocks in plasticised cement mortar (1:3) 230mm thick wall 1.11: In situ concrete Reinforced in situ concrete (Grade 15) in: Isolated | 6 | m²
B | beams Lintels/beams on walls; 1.11.13: Formwork for in situ concrete Plain fair face formwork to; | 1 | m3
C | lintels; sides/soffits 1.11.34: Reinforcement for in situ concrete High tensile deformed round bar reinforcement to BS 4449 | 1 | m²
D | 12mm diameter bar | 4 | kg
E | 10mm diameter bar ALUMINIUM PARTITION Demountable partitions; Rational powder Coated Aluminium Profiles complete with gaskets and fittings or approve equivalent | 3 | kg
Partitions
F | with 18mm thick stainless aluminium casing and top glazzed with adjustable blinds complete with 1200 x 2100mm entrance door. | 19 | m²
GLASS BLOCK
G | Supply and install glass block size 380 x 380 x 80mm Thick using white cement and quarks as directed by the Architecs | 5 | m²
SANDCRETE HOLLOW BLOCKWALL CARRIED TO SUMMARY
ITEMS | DESCRIPTIONS | QTY | UNIT | RATE | AMOUNT
A | ELEMENT NO.3 - ROOF STRUCTURE AND COVERING Allow a Provional Sum of N1,000,000.00 (One Million Naira) for the maitenance and repair of roof covering to be expended as directed | 1 | Sum | 300000 | 300000
| ROOF COVERING: Carried to summary |  |  |  | 300000
ITEMS | DESCRIPTIONS | QTY | UNIT | RATE | AMOUNT
A | ELEMENT NO. 4: DOORS AND WINDOWS Information Nature and location of the work The work in this section comprises: (i) Purpose made steel door at Reception, Inaction, Amplification, Detection and Corridor (ii) Access Control for selected Doors (iii) Mosquito netting DOORS DOORS/SHUTTERS/HATCHES Steel Doors or other equal approved natural anodized finish; with openable panels: fixing to heavy duty steel subframe; ironmongery; comer joint, neoprene gasket system and all necessary fittings and accessories: including lugging, pinning and pointing in lugs to blockwork or concretework and pointing all round both with approved mastic Purpose made steel door complete with steel frames and sub-frames finished with 75 x 20mm Architrave overall Size 1800 × 2100mm high | 2 | nr
B | Ditto; Size 1200 × 2100mm high | 3 | nr
C | Supply and install Biometric access control with card reader keypad access and all accessories complete to be installed as directed | 4 | nr
D E F | Timber Doors/Shutters
HDF board, PVC-coated full frame panel security door, 75mm - 80mm thick, with a full frame to wall thickness and a 10 - minutes fire rating from PRO- DESIGN NIG. LTD or KORPERATE CARPENTERS LTD. or other approved manufacturer
Overall sizes:
| Single-leaf, single swing 900 x 2150mm high d8 | 1 | nr
| Single-leaf, single swing 750 x 2150mm high d9 | 1 | nr
WINDOWS
MOSQUITO NETS
| Providing and fixing of swing type; Mosquito stainless steel (302 grade) mesh made of wire gauze of 0.5 mm dia wire and 1.4 mm aperture on sides in existing Aluminium Windows with powder coated fabricating frame. Aluminium sections are as required with suitable size of frame, aluminium hinges and screws as directed | 45 | m²
DOORS AND WINDOWS Total Carried to Summary
A | ELEMENT NO. 5: WALL FINISHES 1.28.7 FINISH TO WALL Information Nature and location of the work the work in this section comprises: (i) Walls finshings with and including other associated works but excluding painting which is measured in a separate Element PLASTERED/RENDERED/ROUGHCAST COATINGS EXTERNALLY Cement and sand mortar (1:4): smooth finish Carefully repair all hairline cracks and other irregularity on the walls with 12mm thick floated backing to concrete or blockwork width exceeding 600mm | 75 | m²
B | Width not exceeding 600mm STONE/ CONCRETE/ QUARRY / CERAMIC /TILING / MOSSAIC Glazed ceramic tiles, BS. 6431, glazed, 2 joints, symmetrical layout, fixing with adhesive or cement mortar, grouting with matching cement grout | 15 | m
C | 600 x 250 x 6mm thick units to walls on cement and sand floated backing patterned, width exceeding 600mm | 75 | m²
D | Width not exceeding 600mm POP WALL SCREEDING | 15 | m
E | Floating with POP Screed; Width exceeding 300mm wide | 629 | m²
F | Ditto: not exceeding 300mm wide | 79 | m
WALL FINISHES Total carried to summary
ELEMENT NO. 6: FLOOR FINISHES Information Nature and location of the work the work in this section comprises: (i) Floor finshings with Epoxy finishes as approved at Lab Areas (ii) Replacement of broken floor tiles and worktop FLOOR FINISHES
1.28.2: SAND CEMENT/CONCRETE/SCREEDS/TOPPINGS
A | 50mm thick screed to receive epoxy finish | 275 | m²
B | Epoxy Primer Nitoprime 25, shall be applied on a prapared surface and antislip grains spread over the same to ensure mechanical key with subsequent epoxy treatment; Nitoflor TF 5000, chemical and abrasion resistant epoxy floor screed; shall then be laid by skill workers @ 3mm thickness on Primer Nitoprime as per manufacturer's specification; the screed shall have a comprehensive strength of 85N/m2 and Flexural strength of 28N/m2 Nitroflor TF 5000 is resistant to Acid, Alkalis, Solvents & Organics and Aqueous solutions. The screed shall therafter be sealed with Nitoflor SL2000, chemical & abrasion resistant epoxy floor topping; Nitoflor SL2000 shall be trowel finish. The total system thickness shall be 5mm and curved at floor to wall interface and seamless. Products; Fosroc, Berger, SureCrete America or as approved by the Consultants. 1.28.2: SAND CEMENT/CONCRETE/SCREEDS/TOPPINGS Mortar; cement and sand (1:4) screeded floor trowelled smooth | 275 | m²
C | 42mm thick; to receive floor tiles | 12 | m²
Stone/Concrete/Quarry/CeramicTiling/Mosaic
Ceramic Tiling; Fully vitrified glazed Ceramic floor tiling
in approved colour patterned;fixing with approved
adhesive; pointing with matching grout including
screeded backing; floors 600x600x8mm
D | Tiling; internally; over 300mm wide in selected | 12 | m²
compartments.
E | Ditto skirting; internally; 100mm high | 4 | m
FLOOR FINISHING Total Carried to summary
ITEMS | DESCRIPTIONS | QTY | UNIT | RATE | AMOUNT
A B | ELEMENT NO. 7: PAINTING AND DECORATIONS Information Nature and location of the work the work in this section comprises: (i) Painting and decorations on new works SURFACES FINISHES Prepare and apply one undercoat and two finishing coats approved Dulux Silk paint on general surfaces of
| approved coour in accordance with Architect's instructions: Rendered surfaces of wall Internally | 2050 | m²
1.28.7: FINISH TO WALLS (PAINTING /CLEAR FINISHINGS)
Prepare and apply premuim 3 coats of emulsion
DULUX'/Drost Devestex interior plus or other approved
equivalent product on Cement rendered and floated
general surfaces
Externally
| Rendered wall; girth exceeding 600mm | 445 | m²
PAINTING AND DECORATIONS: Total Carried to Summary
ITEMS | DESCRIPTIONS | QTY | UNIT | RATE | AMOUNT
A | ELEMENT NO. 8: FITTINGS AND FIXTURES WARDROBES; CABINETS;OFFICE TABLES; inclunding Office Chairs, Desk and Work Tables Supply, Deliver and Install the following Furniture from PRO DESIGN or equal and approved Office desk with Extention and drawer extension)(1000 x 500 x650 H) | 12 | nr
B | Swivel Ergonomic office chairs with arms size ( 625 x 520 x 970mm) | 24 | nr
C | Executive Vistors chairs armless size(550 x 500 x 970mm) | 2 | nr
D | 2.8 x 1.2m Seat 8, Boardroom/Conference/Meeting Table complete with 8 chairs | 1 | nr
E | Visitors armless chairs size(550 x 900 x 970mm) | 6 | nr
F | File cabinet size(5600 x 600 x 2000mm) Built-in | 1 | nr
G | Ditto; size(4700 x 600 x 2000mm) Built-in | 1 | nr
H | Entrance reception counter (5330 x 450 x 1000mm) | 1 | nr
J | Store shelving size(1800 x 500 x 2000mm) | 10 | nr
K | Printer stand size 1200 x 1100 x 600mm high | 1 | nr
L | Lab stool | 2 | nr
M | First Aid Kit (Equipped First Aid Box) | 1 | nr
Window Blinds
Supply and install Wooden Pattern Day And Night Window Blinds
N | 1200 x 1500mm overall size | 3 | nr
P | 1200 x 1200mm overall size | 2 | nr
FITTINGS AND FIXTURES Carried to Summary
ITEMS | DESCRIPTIONS | QTY | UNIT | RATE | AMOUNT
ELEMENT NO. 9: MECHANICAL INSTALLATION
PLUMBING INSTALLATION
SANITARY APPLIANCES/FITTINGS
Fittings, Equipment and Accessories associated with services
"TWYFORD" or other equal and approved fittings complete with all accessories necessary for installation
A | Wash hand Basin with faucets complete | 1 | nr
B | Shower Head, High Pressure Rainfall Shower Head/Hand Shower Combo W/ 11" Extension Arm, 5 Settings Adjustable Spill | 2 | nr
C | Include the provisional sum of N450,000.00 for the repairs/maintenance of pipes, soil and waste pipes installations to the main building as directed | 1 | Sum | 450000 | 450000
SPLIT AC SYSTEM
EQUIPMENT:
D | LG High Wall Mounted Single Split Air-conditioner - Inverter Type. Cooling Capacity: 12,000Btu/h complete with all ducting and all accessories | 1 | Nos.
MECHANICAL INSTALLATION Carried to Summary
ITEMS | DESCRIPTIONS | QTY | UNIT | RATE | AMOUNT
ELEMENT NO. 10: ELECTRICAL WORKS V21: General lighting
Lamp and luminaires; lighting fittings fixed to soffit
including all necessary for complete installation
A | 1 x 25w decorative Bulb or approved equal Supply, deliver to site and install the following complete with all the necessary operational accessories as manufactured by MK, Schneider or Legrand: | 2 | nr
B | 13A gang double pole white moulded socket outlet flush. | 3 | nr
C | 10A 1 gang 1 way switch | 1 | nr
D | Allow a provisional sum of N200,000.00 (Two Hundred Thousand Naira) for the repair and replacement of damaged cables and other fittings to be expended as directed | 1 | Sum | 200000 | 200000
ELECTRICAL INSTALLATION Carried to summary
ITEMS | DESCRIPTIONS | QTY | UNIT | RATE | AMOUNT
BILL NR.3: EQUIPMENTS AND DEVICES
J | Generator (Allow a provisional sum for the repairs of 165kva generation) | 1 | nr
K | Upright -86-degree freezer. 678lters with 20 racks and 500boxes | 1 | nr
L | 3 - 8 degree medical refrigerator 315 litres, digital temperature display | 3 | nr
BILL NR.3: EQUIPMENTS AND DEVICES TOTAL CARRIED TO GENERAL SUMMARY
GRAND TOTAL