## LOKOGOMA
MAINTENANCE OF PODCAST STUDIO AND NKPHRN OFFICE FOR LOKOGOMA
| DESCRIPTION OF ITEM | QTY |  | U/PRICE | AMOUNT(N)
MAINTENANCE
S/N | Description | Qty | Unit | Rate (₦) | Amount (₦)
A | Preparation
a | Demolition and preparation of room for proposed works | 62 | m²
B | Acoustic treatment and sound proofing
ii | Acoustic foam/wedge panels | 58 | packs
iii | Bass traps for room corners | 8 | set
iv | Ceiling acoustic treatment | 12 | m²
v | Heavy acoustic/blackout curtains | 2 | set
vi | Solid-core/acoustic door improvement and seals | 1 | item
vii | Acoustic sealant with door/window weather stripping | 1 | item
viii | Installation of acoustic materials | 1 | item
Cladding /Boarding
C | Allow for complete boarding with gypsum or approved equal for the cladding of wall space for complete insullation | 62 | m²
PAINTING/CLEAR FINISHING
D | Painting render; prepare, prime and apply one undercoat wall primer and two finishing dark matt coat paint
i | Walls over 300 wide; to concrete or blockwork | 62 | m2
ii | (High quality) Emulsion paint on External walls | 546 | m2
ELECTRICAL INSTALLATIONS
E | Allow for Electrical Installations to be expended according to Engr description
Switches, Sockets and accessories
| Lighting Fittings and accessories | lot
Making good wall disturbed in the process
AIR-CONDITIONING AND VENTILATION
F | Supply install and commission the following Air-conditioning equipments (Air flow,L.G, Midea or approved equal) Inverter AC
i | 1.5HP, 12,000btu/Hr spit unit including kits | 1 | Nr
ii | Allow for A/C steel hanger for outdoor units | 1 | Nr
G | Allow for provision and installation of 8 channel NVR 4mp HD security cameras with night vision IP Cameras generally
i | Cameras | 8 | Nr
ii | Cable | 3 | Nr
iii | NVR 8 channel |  | lot
iv | Accessories |  | lot
v | Installation and commisioning |  | lot
J | Allow for Fire fighting equipment generally to include
i | 9kg Dcp | 6 | Nr
ii | Smoke Detector | 6 | Nr
iii | Call point | 1 | Nr
iv | Contol panel | 1 | Nr
v | Cable | 5 | Nr
vi | Sirene | 1 | Nr
vii | Installation and commisioning |  | lot
| MAINTENANCE WORK TOTAL |  |  |  | 0