## National Hospital TB Lab
National Hospital TB Laboratory and DOTS unit, Abuja
S/N | DESCRIPTION OF ITEM | QTY | UNIT | UNIT PRICE | AMOUNT (N)
BILL Nr 1- PRELIMINARIES FOR PROPOSED
WORKS AT TUBERCULOSIS LABORATORY, NATIONAL HOSPITAL
ABUJA, FCT
PRELIMINARIES
A | Site Clearing
i | Setting out
ii | Contractor to keep records
iv | Progress photograph in 3 sets on monthly basis with site progress report on the basis
v | Protection of work in all sections
vi | Access: Maintaining of the existing road adjoining the site for the duration of the work.
vii | Offices - site offices for use by the contractor for the project durationtion including running/maintenance of the office.
viii | Sanitary accommodation
ix | Temporary fences, hoardings, sheds, buildings, screens and roofs
x | Name boards - 1 Nr
xi | Temporary Power including standby generator for general use by main contractor and subcontractors
xii | Temporary Water for the works, including for general use by the main contractor and sub-contractors for the duration of the contract.
xiii | Safety, health and welfare -Helmets, Boots, raincoats, 1st AID box and medication
xiv | Storage of materials including lock-up spaces for specialist sub-contractors.
xv | Rubbish disposal and general cleaning
xvi | Exterminate and prevent pests/Fumigations
xvii | Scaffolding and requisite plants/equipment
xviii | Watching & Lighting - Site Security including day and night security staff. 2Nr points to be constructed.
xix | Provision of As-Built drawings and layout plan
| TOTAL |  |  |  | 273789.3
NEW WORKS
A | Allow for provision for jack to access base of container |  | sum | 253000 | 253000
B | Allow for removal and cart away debris |  | sum | 165000 | 150000
C | Allow for application of termite repellant for preservation of suspened base materials |  | sum | 165000 | 165000
D | Allow for spraying of iron profil with anti rust |  | sum | 66000 | 66000
WALL FINISHES
B | Allow for spraying of portacabin with oil base paint -SIKKENS | 171 | M²
WINDOWS
C | Make good Aluminum window where necessary. |  | sum | 462000 | 462000
i | Allow for installation of window blinds (Horrizontal venetian wooden blind ) | 32 | M²
ii | Allow for installation of tint to window with Nano Film tint | 2 | Nr
ROOF
D | Allow for fixing of roof leakages |  | sum | 324500 | 324500
DOOR
F | Make good door in size 750x2100mm and internal supports as directed to specification with metal materials,door closer and iron protector | 2 | Nr
G | Make good ceiling defects |  | sum | 236500 | 236500
MASONRY
F10 BRICK/BLOCK WALLING
H | Blockwork; Hollow sandcrete blockwork in cement mortar (1:6) filled solid with weak concrete including dressing | 15 | m2
i | Allow for installation of Iron Burglary between portacabins | 36 | m2
FLOOR FINISHES
SURFACE FINISHES
I | Vitrified tiles of approved design and colour in cement and sand mortar on screeded bed and pointing in matching cement
i | 400 x 400 x 8mm thick tiles level or to falls only; not exceeding 15 degrees from horizontal to concrete | 96 | m2
ii | Skirting 100 high | 56 | m
Floor screeded bed; 40mm thick; level and to falls, trowelled ;
iii | Tiles | 52 | m2
ELECTRICAL INSTALLATIONS
J | Electrical installations to include complete with Distribution Boards, wiring (conduit and cabling), Lighting fittings and accessories, switches,extractor fans and sockets and accessories etc |  | Item | 748000 | 748000
MECHANICAL INSTALLATIONS
K | Mechanical services to include Plumbing installations, water supply & accessories |  | Item | 352000 | 352000
LABORATORY
L | Supply and fix (Acid proof) Soft MDF with 0.5mm edging Base unit, water resistant chipboard and 0.7mm acid and Alkaline resistant HPL laminated Worktop elevated on VOLPATO adjustable legs complete with accessories and prelims | 4 | Nr
TOTAL