## Sheet1
LOT 1_ Rivers State University Teaching Hospital
SUPPORT FOR INVERTER POWER BACKUP SYSTEM PCR RSUTH
S/N | ITEM/ACTIVITY DESCRIPTION | QTY | UNIT | RATE | AMOUNT
1 | 12kw 230/415vac,480vDC 3 Phase Inverter | 1
2 | 15kwh 48v lithium-ion Battery | 2
3 | 16mm x 4 core Power cable | 30
4 | Accessories for Inverter back-up system |  | item | 8700000 | 8700000
5 | Roof array and framework | 1 | Lot | 470000 | 470000
6 | Purchase and install 120amp MPPT Charge Controller | 2 | Nr
7 | 12 way DC Combiner Box | 2 | Unit
8 | Solar array cables: 16mm² | 70 | Mtrs
9 | Purchase and install 1000-10000v Surge protection | 1 | Nr
10 | Purchase and install DC MCB 120 amps Dual pole (Battery Guard) | 1 | Nr
11 | Purchase and install DC PV Disconnect 120 amps (Array Guard) | 1 | Nr
12 | 25 mm² bare single core grounding cable | 20 | Unit
13 | Solid rod Lightning arrestor (1.5meters exposure) | 1 | Unit
14 | Full Grounding station | 1 | Lot | 250000 | 250000
15 | Termination ascessories | 1 | Lot | 70000 | 70000
16 | Inland transportation of all equipment to site | 1 | Unit
17 | Complete installation and integration | 1 | Lot | 2350000 | 2350000