## PRICED BILL
LOT 2_ Ahmadu Bello University Teaching Hospital, Zaria, Kaduna State
| ITEM/ACTIVITY DESCRIPTION | QTY | UNIT | RATE | AMOUNT
1 | Accessories for Inverter back-up system |  | item | 8900000 | 8900000
2 | Array and framework | 1 | Lot
3 | Replacement of faulty 16 units of 200AH Tubular batteries with 4 lithium ion batteries - 10KWH | 4 | Nr
4 | Purchase and install 10KWH Lithium ion batteries | 2 | Nr
5 | Not less than 10KVA DC to AC, Online, Pure sinewave Inverter | 1 | Nr
6 | Purchase and install 120amp MPPT Charge Controller | 2 | Nr
7 | Purchase and install 1000-10000v Surge protection | 2 | Nr
8 | Purchase and install AC MCB 120 amps (Inverter Guard) | 2 | Nr
9 | Purchase and install DC MCB 120 amps Dual pole (Battery Guard) | 2 | Nr
10 | Purchase and install DC PV Disconnect 120 amps (Array Guard) | 2 | Nr
11 | Purchase and install Changeover switch 160Amps - 200Amps | 2 | Nr
12 | Battery cables – 25-35mm² Single Core Flex, PVC, PCP Cable | 10 | Mtrs
13 | Load cables: 16 mm² Three Core Flex nGS, PVC, PCP/EPR Cable | 35 | Unit
14 | Alternate supply cable 16 mm² three Core RHZ1 non amored Cable. | 20 | Unit
15 | Array cables: 25 mm² | 40 | Unit
16 | 25 mm² bare single core grounding cable | 20 | Unit
17 | 12 way DC Combiner Box | 2 | Unit
18 | 6 way Distribution box | 2 | Unit
19 | Solid rod Lightning arrestor (1.5meters exposure) | 1 | Unit
20 | Full Grounding station | 1 | Lot | 250000 | 250000
21 | Termination ascessories | 1 | Lot | 70000 | 70000
22 | Inland transportation of all equipment to site | 1 | Unit
23 | Wall preparation and installation Support board | 1 | Unit
24 | Circuiting and redress | 1 | Lot | 40000 | 40000
25 | Complete installation of all equipment | 1 | Lot | 350000 | 350000