## GH New
SUB - NO | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
A | PRELIMINARIES
| Allow for Removal Old Electrical, Mechanical fittings, Furniture and Store in approved location | 1 | sum
ii | Allow for Pre & Post Construction Cleaning | 1 | sum
iii | Clearing of Waste from Site | 1 | sum
New works
B | WALL SCREEDING
i | Allow for screeding of all Internal Walls | 769 | m²
C | PAINTING
i | Prepare and apply satin paint on screeded wall and skirting | 769 | m²
ii | Prepare and apply oil base paint on skirting | 384 | m²
D | TILING
i | Bathroom Walls: 300mm x 600mm x 8mm thick on cement and sand | 220 | m²
ii | Bathroom Floors: 600mm x 600mm x 15mm to bathroom floors on cement and sand base, with approved Slope. | 30 | m²
iii | Apartment Tiling kitchen & area | 43 | m²
iv | BQ kitchen tiling | 35 | m²
v | 100mm skirting laid on all Interior existing walls | 256 | m²
E | CEILING FINISHING
i | POP ceiling (entrance to external Room) | 25 | m²
ii | POP ceiling to Edges of Bedroom, Living Room | 86 | m²
iii | Screed, Sandpaper and apply two coat of emulsion paint on existing POP ceiling | 210 | m²
| Allow for installation of PVC Ceiling to BQ 5 | 25 | m²
F | DOORS
ii | Remove Existing Doors and place in approved Storage | 11 | item
iii | New Solid Core doors | 11 | item
iv | American Steel doors for bathrooms | 4 | item
| Installaton of doors involving cement work | 13 | item
| Allow for fixing door by BQ at flat 5 | 2 | item
G | MECHANICAL INSTALLATIONS
i | Allow a provisional sum for the removal of existing mechanical fittings (WC, wash hand basin, bath tub) and dispose off site for Bathrooms, Guest toilet, kitchens. | 5 | item
ii | Allow a provision sum for fixing of cold water, hot water and other plumbing pipes | 1 | L.S
H | SANITARY FITTINGS
i | Water Closet Toilet Seat | 5 | item
ii | Wash Hand Basin | 5 | item
iii | Shower Head | 4 | item
iv | Kitchen Mixer | 2 | item
v | Wash Hand Basin Mixer | 5 | item
vi | Toilet Hand Shower | 5 | item
vii | 10mm Tempered glass shower enclosure | 4 | item
viii | Mirror with LED lights | 5 | item
ix | Interior kitchen sink(Apartment) | 1 | item
x | Exterior kitchen sink (BQ) | 1 | item
I | BATHROOM ACCESSORIES
i | Tissure Paper Holder | 5 | item
ii | Towel Rack (Body Towel) | 4 | item
iii | Hand Towel Rack | 5 | item
iv | Sliding window net | 5 | item
v | Bathroom Floor carpets | 5 | item
vi | Bathroom accessories (supply baskets, handwash containers and the likes) | 5 | item
J | Electrical
i | Allow Provisional sum for restructuring, Installations and rewiring electrical points | 1 | L.S
ii | Water Heater | 5 | item
k | LIGHT FITTINGS
i | LED Ceiling recessed spotlight fitting for living room | 15 | item
ii | LED Ceiling recessed spotlight fitting for Corridors and rooms | 40 | item
iii | Center Lights for Living Room and Dinning | 2 | item
iv | Bedroom Side | 8 | item
v | Standing lamp (Living Room) | 2 | item
vi | Standing lamp (dinning Room) | 1 | item
vii | Desk Reading light for rooms | 4 | item
L | Air Conditioning
i | 1.5hp Air Conditioner (Rooms) | 4 | item
ii | 2.0hp Air Conditioner (Living Room) | 1 | item
iii | wooden casement to house distribution boards (DB) | 2 | item
iv
M | Kitchen Cabinets and TV Wall Panel
i | 7100mm wide x 600mm x 900mm high L-shaped kitchen cabinets in laminated timber with polished granite slab top and 2100 x 450 x 600mm high wall unit; all structur fixed to both floor and wall as appropriate (kitchenette) | 1 | item
ii | BQ kitchen cabinet | 1 | item
iii | TV wall Panel | 1 | item
N | Rooms Furnishings
i | Wardrobes
ii | Size 1200mm long x 600mm wide x 3000mm high New modern wardrobe, all structure fixed to both floor and wall as appropriate | 4 | item
A | Chairs and Sofa
i | Allow a provisional sum for the refurbishment of living room seatings, sofa chairs and tables | 1 | item
ii | Purchase sofa chairs for rooms | 4 | item
iii | Purchase reading desk chair | 4 | item
iv | Construct Desk and Fridge Case | 4 | item
v
B | FABRICS
i | Towels (Body) | 8 | item
ii | Towels (Hand) | 8 | item
iii | Bedsheets | 8 | item
iv | 1 Duvet and Cover | 4 | item
v | Curtains | 1 | item
C | Center rugs & Window Blinds
i | Living Room & Dining Center rugs | 2 | item
ii | High quality aesthetic center rugs | 4 | item
iii | Window Blinds
iv | Window blinds with Accessories | 10 | Item
v | Mosquitoe Net change | 1 | sum
D | Appliances
i | Electric kettle | 2 | item
ii | Microwaves | 2 | item
iii | Steam pressing iron | 1 | item
iv | Pressing Board | 1 | item
v | Washing machine & Dryer | 1 | item
vi | Table top fridge for rooms | 4 | item
vii | Gas cookers | 2 | item
viii | Extractor | 1 | item
ix | Fridge | 1 | item
x | Cooking pot, pans, utensils, plates and cutleries | 1 | item
xi | Dish Drying Rack | 2 | item
xii | Clothes Drying Rack | 1 | item
xiii | Wooden trays for rooms | 4 | item
xiv | Electric kettle for rooms | 4 | item
| oven | 2 | item
E | ACCESSORIES FOR INTERIOR DECOR
i | Framed pictures | 20 | nrs
ii | House accesories like centre pieces, door labels and art works | 1 | L.S
iii | wooden bed frames | 4 | sum
Maintainance
i | Roof Mainternance/Felting | 19 | m²
Total Estimated Cost carried to Summary (FOR 1 UNIT)
TOTAL x2 (FOR UNIT 1 & 2)