## Sheet1
BOQ FOR CLNICAL LAB OPTIMIZATION
LOT 5 | FEDERAL MEDICAL CENTER, ONITSHA, ANAMBRA STATE
Component 1:
BILL Nr 1- PRELIMINARIES FOR PROPOSED WORKS AT THE CLINICAL ROOM, IN THE FACILITY.
PRELIMINARIES
1 | Site Clearing
2 | Setting out
3 | Contractor to keep records
4 | Progress photograph in 3 sets on monthly basis with site progress report on the basis
5 | Protection of work in all sections
6 | Access: Maintaining of the existing road adjoining the site for the duration of the work.
7 | Offices - site offices for use by the contractor for the project durationtion including running/maintenance of the office.
8 | Sanitary accommodation
9 | Temporary fences, hoardings, sheds, buildings, screens and roofs
10 | Name boards - 1 Nr
11 | Temporary Power including standby generator for general use by main contractor and subcontractors
12 | Temporary Water for the works, including for general use by the main contractor and sub-contractors for the duration of the contract.
13 | Safety, health and welfare -Helmets, Boots, raincoats, 1st AID box and medication
14 | Storage of materials including lock-up spaces for specialist sub-contractors.
15 | Rubbish disposal and general cleaning
16 | Exterminate and prevent pests/Fumigations
17 | Scaffolding and requisite plants/equipment
18 | Watching & Lighting - Site Security including day and night security staff. 2Nr points to be constructed.
19
| TOTAL |  |  |  | 800000
S/N | DESCRIPTION OF ITEM | QTY | UNIT | UNIT PRICE | AMOUNT
1 | GENERAL DEMOLITION
i | Allow for the decommisionning of failed systems parts, fittings, equipment, and infrastructure: Light fittings, Inverter systems and failed inverter batteries, Work tops, civil works etc |  | Item | 100000 | 50000
ii | Allow for careful removal and carting away of decomissioned failed systems, parts, fittings, equipment damaged work tops, work doors and windows etc for disposal or as directed |  | Item | 80000 | 50000
2 | GENERAL WORKS
A | ROOF MAINTENANCE
i | Provide for Making good roofing sheets, failed rafters with attendant wood works |  | Item | 150000 | 150000
B | FIRE ALARM SYSTEMS
Supply, install and commission fire alarm system & assessories at the facility
i | Smoke detectors | 6 | nr |  | 0
ii | Control Panel -1 zone | 1 | nr |  | 0
iii | Sounders | 2 | nr |  | 0
iv | Call point | 2 | nr |  | 0
v | Fire resistant cable | 2 | rolls |  | 0
vi | Power batteries | 2 | nr |  | 0
vi | Assessories and terminations | 1 | item | 260000 | 260000
C | FIRE EXTINGUISHERS
i | Supply, install and commission 4 Nos of DCP ABC classified fire extinguishers at the facility- 9kg | 4 | nrs |  | 0
E | WALLS AND PAINTING
i | Screed and paints: Two coats of Satin to affected walls with Dulux or equal or approved. | 190 | m² |  | 0
ii | Cleaning of PVC Ceiling in general | 1 | Item | 40000 | 40000
F | ELECTRICAL POWER |  |  |  | 0
General fixtures
i | Allow for fixing of DB, failed and damaged light fixtures, switches, sockets , power points, brackets and circuit redress etc | 1 | Item | 150000 | 150000
Back up power
| Provide expanded solar back up power system to the existing solar power system on site |  |  |  | 0
i | Provide and install 600w monocrystalline solar panels | 24 | nr |  | 0
ii | Provide and assemble Solar array frame for roof installation of solar panels | 1 | Item | 810000 | 810000
iii | Provide and install 24 way DC Combiner Box | 1 | nr |  | 0
iv | Purchase and install DC PV Disconnect 120 amps (Solar Array Guard) | 1 | nr |  | 0
v | Provide and install 1000v surge protection | 2 | nr |  | 0
vi | Purchase and install 120A charge controller | 1 | nr |  | 0
vii | Provide and install 10KVA DC to AC, Online, Pure sinewave hybrid Inverter | 1 | nr |  | 0
viii | Purchase and install 3 phase Changeover switch 200Amps | 1 | nr |  | 0
ix | DC cabling 16mm –25mm² Single/Dual Core Flex, PVC, PCP Cable | 80 | Mtrs |  | 0
x | DC cabling 35mm –50mm² Single Core Flex, PVC, PCP Cable | 12 | Mtrs |  | 0
xi | Alternate supply/load cable 10mm² 16 mm² three Core RHZ1 non amored Cable. | 50 | Mtrs |  | 0
xii | Purchase and install appropraite Distribution box/Bus | 1 | nr |  | 0
xiii | Provide and install 15KWH Li-Fe batteries | 2 | nrs |  | 0
xiv | Purchase and install DC battery breaker 200A | 1 | nr |  | 0
xv | Purchase and install AC input breaker | 1 | nr |  | 0
xvi | 25mm bare single Earthing cable | 18 | Mtrs |  | 0
xvii | Solid rod ligthening Arrestor | 1 | nr |  | 0
xviii | Full ground station | 1 | nr |  | 0
xix | Termination Accessories | 1 | Lot | 258000 | 258000
G | FURNITURE
i | Purchase and install 4 ft table 1500mm X 750mm | 1 | nrs |  | 0
ii | Provide and install 200L, Minus 15⁰ refrigerator for medical reagents | 1 | nr |  | 0
iii | Lab stools with arm and back rest leather finish | 6 | nrs |  | 0
H | DOORS AND WINDOWS
i | Supply and install steel security doors in size 1200mm X 2100mm. | 1 | nr |  | 0
0
ii | Provide treated synthethic window mosquito nets | 9 | m² |  | 0
I | FLOOR FINISHES.
i | Replacement of damaged tiles | 3 | m² |  | 0
J | WORKTOPS
Supply and fix (Acid proof) Soft HDF with 0.5mm edging Base unit, water resistant chipboard and 0.7mm acid and Alkaline resistant HPL laminated Worktop/Syntetic Granite elevated on VOLPATO adjustable legs complete with cabinets and accessories
i | Work top | 16 | m |  | 0
ii | Acrylic wash hand basin installed to work top complete with sensor taps, accessories and all necessary plumbing works | 3 | nrs |  | 0
iii | Ceramic wash hand basin installed complete with control taps, accessories and all necessary plumbing works | 1 | nrs |  | 0
K | AIR-CONDITIONING AND VENTILATION
supply install and commision the following Air-conditioning equipments (Air flow,L.G. approved equal) Inverter AC
i | 1.0HP, 9,000btu/Hr split unit including kits | 2 | nr |  | 0
ii | 1.5HP, 12,000btu/Hr spit unit including kits | 3 | nrs |  | 0
iii | Allow for A/C steel hanger for outdoor units | 5 | nrs |  | 0
M | RACKS
i | Supply and install metal racks in sizes : 2400mm x 900mm x 450mm | 11 | nr |  | 0
N | DOOR CLOSERS
i | Supply and install impact resistant 4 inch spring hinge automatic door closers | 5 | nrs |  | 0
O | BIOMETRIC ACCESS CONTROL
i | Provide and install SMART biometric access control for entrance doors including all accessories (Sample reception, Main lab and Repository) | 2 | nrs |  | 0
Q | EYE WASH STATION
i | Supply and install emergency eye wash station | 1 | nr |  | 0
TOTAL