## COVER
INSTALLATION AND MAINTENANCE ACTIVITY TO
RESOLVE ELECTRICAL AND INVERTER POWER CHALLENGES IN
THE TUBERCULOSIS REFERENCE LABORATORY
AT
UNIVERSITY COLLEGE HOSPITAL TUBERCULOSIS REFERENCE LABORATORY
IBADAN, OYO STATE
INSTITUTE OF HUMAN VIROLOGY NIGERIA
DATE
2024-11-11

## UNPRICED BILL
| ITEM/ACTIVITY DESCRIPTION | QTY | UNIT | RATE | AMOUNT
1 | Sectional rewiring of the existing 64 monocrystalline solar panels:
i | Provide for use: 16mm twin core DC Solar array cable | 2 | Coils |  | 0
ii | Provide for use MCB Connectors | 128 | Nrs |  | 0
iii | Piping trunks | 2 | Pkts |  | 0
iv | Cable ties and terminations | 1 | Item | 70000
v | Roof array reinforcement and reconfigurations | 1 | Item | 550800
0
2 | Provide and install 120 amp charge controllers | 3 | Nrs |  | 0
3 | Purchase and install 10KVA DC to AC, Smart, Online, Pure sinewave Inverter | 3 | Nrs |  | 0
4 | Replacement of faulty 200AH gel batteries with 6 lithium ion batteries - 10KWH | 6 | Nrs |  | 0
5 | Provide and install 6-12 way fuse DC Combiner box | 1 | Nr |  | 0
6 | Purchase and install 1000-10000v Surge protection | 3 | Nr |  | 0
7 | Purchase and install AC MCB 120 amps (Inverter Guard) | 3 | Nr |  | 0
8 | Purchase and install DC MCB 120 amps Dual pole (Battery Guard) | 3 | Nr |  | 0
9 | Purchase and install DC PV Disconnect 120 amps (Array Guard) | 3 | Nr |  | 0
10 | Purchase and install Changeover switch 160Amps - 200Amps | 3 | Nr |  | 0
11 | Load cables: 16 mm² Three Core Flex nGS, PVC, PCP/EPR Cable | 35 | Meters |  | 0
12 | Alternate supply cable 16 mm² three Core RHZ1 non amored Cable. | 30 | Meters |  | 0
13 | Grounding station | 1 | Lot | 405000
14 | Termination ascessories | 1 | Lot | 135000
16 | Wall preparation and installation Support board | 1 | Unit | 200000
| TOTAL |  |  |  | 0